



Miniscope DAQ PCB Assembly Information

**Assembly:**

* 1 BGA (.8mm pitch)
* Unique components: 49
* Smallest footprint: 0402
* Total parts: 179
* All surface mounts
* All on top layer
* U11, U12, U14 LED orientation is shown below:



**Top of LED**